## Sheet1
Equipment Name | Make | Model | Application | Operational Status | Sample Requirements | Location | Contact Person | Email | Phone | Notes
Ion Channel Assay System | MCS | MCS Patch server | Measurement of ion channel currents | Operational | Room temperature whole-cell recordings of ion channel currents from heterologous or native mammalian cell lines | BT 222 | Dr. Anamika Bhargava, Associate Professor / Mr Ankush Sharma, PhD student | abhargava@bt.iith.ac.in, bo21resch11004@iith.ac.in
BD FACS Melody Cell Sorter | Beckton-Dickson | 662750 | To sort the cells and analyze apoptosis, cell cycle | Needs repair of the main circuit board (MCB) | Any kind of suspension cells can be analyzed and sorted | BT 119 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Oligo Synthesizer | Bio Automation Corp. | MerMade-192E | To Synthesize ssDNA | Needs setting up of accessories | User-specific | BT 012 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
CD Polarimeter | JASCO | J-1500 | To investigate optical activity of biomolecules | Operational | Any chemical/bio-molecules in solution state; High salt concentration should be avoided | BT 219 | Dr. Thenmalarchelvi Rathinavelan, Associate Professor / Mr Uttam Das | tr@bt.iith.ac.in, bo22resch11008@iith.ac.in
Microscale Thermophoresis | NanoTemper Technologies | NT115 | For measuring biomolecular interactions | Operational | Fluorescently labeled Biomolecules in solution state | BT 119 | Dr. Thenmalarchelvi Rathinavelan, Associate Professor / Ms Sruthi Sundaresan | tr@bt.iith.ac.in, BO20RESCH11002@iith.ac.in
Octet K2 (Bio-layer Interferometry) | ForteBio Inc. | --- | Kinetics of macromolecular and ligands binding studies | Operational | Analyze and quantify interactions between a set of molecules, Binding Kinetics, Room temperature. User need to buy consumables, Biosensors and labelling kit, etc. | BT 119 | Dr. Rajakumara Eerappa, Associate Professor | eraj@bt.iith.ac.in
Mosquito Robotic Liquid Handling System | TTP Lab Tech Ltd | --- | Robot for macromolecules crystallization setup | Operational | Liquid dispensing system for macromolecules crystallization. User need to buy consumables, nanolitre tips and 96 well plates etc. | BT 119 | Dr. Rajakumara Eerappa, Associate Professor | eraj@bt.iith.ac.in
Fast Protein Liquid Chromatography | GE Healthcare | AKTA pure 25 M2 | Protein purification | Partially operational; expected to be fully functional in a month's time | Protein sample (solution) | JICA Lab; BT | Dr. Thenmalarchelvi Rathinavelan, Associate Professor / Ms Sruthi Sundaresan | tr@bt.iith.ac.in; bo20resch11002@iith.ac.in
HPLC | Shimadzu Pte Ltd | CBM 20a | Separation of molecules | Requires a bath sonicator for sample preparation | Any organic compound for analytical separation | BT 119 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Isothermal Titration Calorimeter | Waters Ges.m.b.H | --- | Binding studies | Operational, but need to repair the wash module and replace the injecting syringe | Binding affinity and Thermodynamics of binding, 10°C to 25°C | BT 119 | Dr. Rajakumara Eerappa, Associate Professor | eraj@bt.iith.ac.in
Bench-Top UltraCentrifuge | Beckman coulter | Optima Max-XP | Separation | Operational. Small rotor non functional. Service required. | Non corrosive, non-infectious samples in solution | BT 220 | Dr. Basant Kumar Patel, Associate Professor | basantkpatel@bt.iith.ac.in
Fast Protein Liquid Chromatography | GE WIPRO | AktaPurifier 100 | Protein separation | Operational | Soluble protein sample for separation | BT 219 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Spectramax-Microplate Reader | Molecular Devices | Spectra Max M5e | Microplate reader for absorbance and fluorescence | Down. Unstable laser. Sample holder shaker defective. | Non corrosive, non-infectious samples only | BT 220 | Dr. Basant Kumar Patel, Associate Professor | basantkpatel@bt.iith.ac.in
Fast Protein Liquid Chromatography | GE Healthcare Biosciences Ltd | Akta Purifier 100 | Protein separation | Operational | User-specific | BT 012 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
Fast Protein Liquid Chromatography | Bio-Rad | Biological ABR7-3 | Protein Separation | Operational but liquid pumping is suboptimal | Protein purification | BT 224 | Dr. Rajakumara Eerappa, Associate Professor | eraj@bt.iith.ac.in
Avanti Refrigerated Centrifuge | Beckman coulter | Avanti | Separation | Operational | Any type of biological sample | BT 117 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Cell Analyzer | Applied Biosystems | --- | Quantify fluorescent markers in cell | --- | --- | BT 012 | Dr. Thenmalarchelvi Rathinavelan, Associate Professor | tr@bt.iith.ac.in
Floor Model Superspeed Centrifuge | Thermoelectron led GMBH | Sorvall LYNX 400 | Separation | Operational | cell separations, 4°C to 20°C | BT 224 | Dr. Rajakumara Eerappa, Associate Professor | eraj@bt.iith.ac.in
Upright Fluorescence Microscope | Leica | DM2500 | Bright field and fluorophore microscopy | Operational | Basic microscope for Non-infectious cells and Non-corrosive samples only | BT 219 | Dr. Basant Kumar Patel, Associate Professor | basantkpatel@bt.iith.ac.in
Real Time PCR | Life Technologies Holdings Ltd | --- | Measures gene copy number | Needs 3 KVA UPS | For infectious samples in BSL-II | BT 013 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
Multimode Plate Reader | Perkin Elmer Singapore Pte Ltd | Enspire | Measures fluorescent tag interaction | Operational | User-specific | BT 012 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
Cell Imaging System | Life Technologies | Evosfl Auto | Cell imaging | Operational | Fluorescently labelled animal cells | BT 221 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Computer Nodes | Fujitsu | Primergy RX300S7 | Computational Work | Operational | Data Storage space (External) and Required software | Academic Block, A 006 | Dr. Thenmalarchelvi Rathinavelan, Associate Professor / Ms Sruthi Sundaresan | tr@bt.iith.ac.in; BO20RESCH11002@iith.ac.in
Water Purification System | Merck | Millipore Ultra Pure | To get high quality water | Operational | Ultrapure water | BT 117 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
SyngeneG Box - XR5 | Syngene | Gbox-XRS | Gel imaging of Proteins & Nucleic acids | Operational | DNA visualization Agarose gel | BT 221 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Molecular Imager Chemidoc XRST System | Bio-Rad Pacific Limited | Universal Hood II | Chemiluminescence, fluorescence, and colorimetric imaging | Operational | User-Specific | BT 012 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
Isoelectric Focusing Unit | GE Healthcare | --- | Separation | --- | --- | BT 117 | Dr. Thenmalarchelvi Rathinavelan, Associate Professor | tr@bt.iith.ac.in
Cyclone Phosphor Scanner | Perkin Elmer Singapore Pte Ltd | --- | Imaging of electrophoresis gels & blots | Not operational | User-Specific | BT 117 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
Ultra Speed Centrifuge | Thermo electron Led Gmbh | Sorvall WX Ultraseries | Separation | Operational | User-specific | BT 319 | Dr. NK Raghavendra, Associate Professor | raghunk@bt.iith.ac.in
Multimode Plate Reader | Biotek Instruments Inc. | Synergy H1 Microplate reader | Microplate reader for absorbance and fluorescence | Operational | Any sample with fluorescence/absorbance | BT 221 | Dr. Anindya Roy, Professor | anindya@bt.iith.ac.in
Nucleic Acid Purification System | Cytiva | AKTA pure 25 M2 | Nucleic Acid Separation | Operational | Nucleic Acid purification and separation | BT007 | Dr. Ashish Misra, Assistant Professor | ashishmisra@bt.iith.ac.in
High-end Fluorescence microscope | Leica | DMi8 S | Live Cell Imaging and TIRF module for Single-Molecule Imaging | Operational | Biological specimens | BT119 | Dr. Ashish Misra, Assistant Professor | ashishmisra@bt.iith.ac.in